## OD600 reference point
| LUDOX-HS40 | H2O
Replicate 1 | 0.044 | 0.036 | Enter Abs600 absorbance measurements into blue cells
Replicate 2 | 0.045 | 0.036 | Gold cells are calculated
Replicate 3 | 0.047 | 0.043
Replicate 4 | 0.046 | 0.037
Arith. Mean | 0.0455 | 0.038
Corrected Abs600 | 0.0075 |  | Corrected value is particle-only contribution
Reference OD600 | 0.0425 |  | Reference value is for 100uL of LUDOX-HS40 in a well of a standard 96-well flat-bottom plate
OD600/Abs600 | 5.6667 |  | Corrected value = scaling factor * measured value

## Fluorescein standard curve
uM Fluorescein | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531 | 0.097656 | 0.048828 | 0
Replicate 1 | 60962 | 41232 | 24622 | 13748 | 7344 | 3835 | 1948 | 973 | 498 | 252 | 123 | 9 | Enter fluorescence measurements into blue cells
Replicate 2 | 60086 | 41061 | 24387 | 13815 | 7274 | 3688 | 1778 | 951 | 476 | 239 | 107 | 1 | Gold cells are calculated
Replicate 3 | 61870 | 40808 | 26392 | 13492 | 6896 | 3537 | 1826 | 913 | 465 | 231 | 117 | 0
Replicate 4 | 60497 | 40501 | 22622 | 14461 | 7663 | 4010 | 1964 | 1027 | 517 | 260 | 120 | 7 | Values measured are fluorescence from 100uL of X uM fluorescein solution
Arith. Mean | 60853.75 | 40900.5 | 24505.75 | 13879 | 7294.25 | 3767.5 | 1879 | 966 | 489 | 245.5 | 116.75 | 4.25
Arith. Std.Dev. | 766.2012 | 318.229 | 1542.084 | 412.2095 | 314.8887 | 202.3306 | 91.2798 | 47.6235 | 23.1661 | 12.9743 | 6.9462 | 4.4253
Values should form a straight line on both linear and log scale
Slope should be 1:1
Common problems:
* Consistent pipetting error --> log graph is a straight line but not 1:1 slope
* Oversaturated detector --> low concentrations linear, but high concentrations saturate or fall
uM Fluorescein/a.u. | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531 | 0.097656 | 0.048828
Mean um Fluorescein/a.u. | 0.00082164 | 0.00061124 | 0.00051008 | 0.00045032 | 0.00042842 | 0.00041473 | 0.00041578 | 0.00040437 | 0.00039941 | 0.00039779 | 0.00041823
Mean of med-high levels: |  | 0.00048296
Final scaling level determined from medium-high points likely to be less impacted by saturation or pipetting error
If needed, you can shift which points are used, but it is likely better to correct instrument settings and protocol.

## Raw Plate Reader Measurements
Raw Plate Readings |  | If you followed the recommended plate layout: | [7 empty] | OBS! The team did not have 96 well plate, black with flat, transparent/clear bottom.
|  | Copy fluorescence and Abs600 measurements from your plate reader into blue cells | [7 empty] | We did on the other hand have black plates with black bottom and clear plates with clear bottom
|  | They will automatically propagate into the correct locations in the Fluorescence Measurement Sheet | [7 empty] | Therefor the OD600 was measured on clear plates and FI on black. Same cultur, but on too diferent plates.
Fluorescence Raw Readings: | [9 empty] | Abs600 Raw Readings:
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 55 | 59 | 98 | 71 | 62 | 68 | 77 | 60 | 62 | Colony 1, Replicate 1 | 0.045 | 0.047 | 0.045 | 0.045 | 0.046 | 0.048 | 0.048 | 0.048 | 0.044
Colony 1, Replicate 2 | 76 | 63 | 95 | 63 | 65 | 72 | 78 | 71 | 73 | Colony 1, Replicate 2 | 0.047 | 0.047 | 0.047 | 0.05 | 0.044 | 0.049 | 0.047 | 0.048 | 0.042
Colony 1, Replicate 3 | 82 | 65 | 98 | 85 | 77 | 72 | 64 | 79 | 54 | Colony 1, Replicate 3 | 0.047 | 0.046 | 0.047 | 0.046 | 0.042 | 0.048 | 0.049 | 0.048 | 0.045
Colony 1, Replicate 4 | 78 | 57 | 102 | 73 | 70 | 81 | 63 | 75 | 69 | Colony 1, Replicate 4 | 0.047 | 0.047 | 0.052 | 0.047 | 0.043 | 0.046 | 0.047 | 0.048 | 0.043
Colony 2, Replicate 1 | 68 | 69 | 112 | 81 | 71 | 69 | 68 | 64 | 65 | Colony 2, Replicate 1 | 0.051 | 0.053 | 0.048 | 0.049 | 0.059 | 0.048 | 0.049 | 0.054 | 0.045
Colony 2, Replicate 2 | 82 | 62 | 107 | 87 | 63 | 58 | 75 | 60 | 70 | Colony 2, Replicate 2 | 0.046 | 0.048 | 0.046 | 0.047 | 0.048 | 0.048 | 0.049 | 0.048 | 0.044
Colony 2, Replicate 3 | 72 | 78 | 112 | 70 | 69 | 69 | 81 | 52 | 75 | Colony 2, Replicate 3 | 0.05 | 0.047 | 0.048 | 0.045 | 0.043 | 0.047 | 0.046 | 0.045 | 0.043
Colony 2, Replicate 4 | 75 | 69 | 103 | 84 | 69 | 71 | 74 | 74 | 65 | Colony 2, Replicate 4 | 0.048 | 0.048 | 0.048 | 0.048 | 0.047 | 0.048 | 0.047 | 0.048 | 0.044
Hour 2: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 2: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 69 | 80 | 116 | 112 | 48 | 89 | 85 | 70 | 68 | Colony 1, Replicate 1 | 0.057 | 0.057 | 0.047 | 0.062 | 0.061 | 0.053 | 0.06 | 0.076 | 0.045
Colony 1, Replicate 2 | 71 | 59 | 112 | 101 | 74 | 94 | 71 | 65 | 65 | Colony 1, Replicate 2 | 0.057 | 0.057 | 0.049 | 0.059 | 0.06 | 0.053 | 0.062 | 0.076 | 0.044
Colony 1, Replicate 3 | 80 | 61 | 109 | 110 | 74 | 107 | 82 | 66 | 59 | Colony 1, Replicate 3 | 0.056 | 0.055 | 0.049 | 0.059 | 0.059 | 0.053 | 0.067 | 0.076 | 0.044
Colony 1, Replicate 4 | 70 | 81 | 109 | 78 | 64 | 80 | 89 | 50 | 68 | Colony 1, Replicate 4 | 0.057 | 0.057 | 0.048 | 0.059 | 0.059 | 0.054 | 0.062 | 0.077 | 0.043
Colony 2, Replicate 1 | 96 | 79 | 120 | 113 | 64 | 97 | 92 | 79 | 59 | Colony 2, Replicate 1 | 0.059 | 0.059 | 0.048 | 0.059 | 0.064 | 0.055 | 0.066 | 0.088 | 0.044
Colony 2, Replicate 2 | 73 | 68 | 67 | 100 | 74 | 100 | 85 | 52 | 53 | Colony 2, Replicate 2 | 0.058 | 0.055 | 0.053 | 0.056 | 0.064 | 0.054 | 0.066 | 0.095 | 0.045
Colony 2, Replicate 3 | 105 | 63 | 99 | 72 | 51 | 103 | 84 | 26 | 55 | Colony 2, Replicate 3 | 0.059 | 0.058 | 0.049 | 0.058 | 0.062 | 0.052 | 0.066 | 0.083 | 0.045
Colony 2, Replicate 4 | 76 | 82 | 81 | 104 | 62 | 107 | 102 | 45 | 66 | Colony 2, Replicate 4 | 0.059 | 0.063 | 0.049 | 0.059 | 0.063 | 0.055 | 0.064 | 0.084 | 0.044
Hour 4: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 4: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 72 | 193 | 138 | 147 | 62 | 154 | 107 | 57 | 44 | Colony 1, Replicate 1 | 0.168 | 0.137 | 0.05 | 0.18 | 0.165 | 0.087 | 0.18 | 0.236 | 0.168
Colony 1, Replicate 2 | 76 | 133 | 113 | 232 | 69 | 149 | 100 | 57 | 67 | Colony 1, Replicate 2 | 0.163 | 0.143 | 0.049 | 0.175 | 0.16 | 0.086 | 0.179 | 0.232 | 0.163
Colony 1, Replicate 3 | 47 | 196 | 123 | 243 | 62 | 168 | 115 | 69 | 67 | Colony 1, Replicate 3 | 0.164 | 0.146 | 0.05 | 0.168 | 0.17 | 0.087 | 0.164 | 0.222 | 0.164
Colony 1, Replicate 4 | 43 | 184 | 97 | 226 | 54 | 181 | 118 | 59 | 74 | Colony 1, Replicate 4 | 0.155 | 0.143 | 0.048 | 0.176 | 0.179 | 0.09 | 0.162 | 0.221 | 0.155
Colony 2, Replicate 1 | 42 | 249 | 110 | 222 | 65 | 157 | 115 | 57 | 48 | Colony 2, Replicate 1 | 0.174 | 0.168 | 0.049 | 0.15 | 0.176 | 0.073 | 0.194 | 0.263 | 0.174
Colony 2, Replicate 2 | 51 | 226 | 92 | 203 | 50 | 147 | 122 | 64 | 64 | Colony 2, Replicate 2 | 0.155 | 0.171 | 0.049 | 0.151 | 0.164 | 0.076 | 0.197 | 0.247 | 0.155
Colony 2, Replicate 3 | 38 | 188 | 88 | 199 | 59 | 137 | 139 | 72 | 65 | Colony 2, Replicate 3 | 0.169 | 0.158 | 0.048 | 0.137 | 0.184 | 0.078 | 0.204 | 0.251 | 0.169
Colony 2, Replicate 4 | 37 | 202 | 95 | 196 | 53 | 153 | 149 | 74 | 41 | Colony 2, Replicate 4 | 0.156 | 0.148 | 0.048 | 0.137 | 0.185 | 0.07 | 0.166 | 0.239 | 0.156
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 66 | 397 | 128 | 509 | 74 | 402 | 196 | 76 | 42 | Colony 1, Replicate 1 | 0.349 | 0.313 | 0.049 | 0.349 | 0.379 | 0.184 | 0.372 | 0.405 | 0.349
Colony 1, Replicate 2 | 60 | 372 | 122 | 408 | 81 | 363 | 191 | 67 | 63 | Colony 1, Replicate 2 | 0.279 | 0.307 | 0.05 | 0.368 | 0.37 | 0.195 | 0.371 | 0.4 | 0.279
Colony 1, Replicate 3 | 60 | 377 | 111 | 363 | 66 | 390 | 182 | 80 | 60 | Colony 1, Replicate 3 | 0.277 | 0.271 | 0.05 | 0.325 | 0.374 | 0.194 | 0.373 | 0.404 | 0.277
Colony 1, Replicate 4 | 72 | 366 | 86 | 518 | 68 | 392 | 150 | 57 | 55 | Colony 1, Replicate 4 | 0.278 | 0.241 | 0.05 | 0.349 | 0.366 | 0.181 | 0.362 | 0.409 | 0.278
Colony 2, Replicate 1 | 75 | 480 | 138 | 511 | 82 | 80 | 213 | 362 | 49 | Colony 2, Replicate 1 | 0.338 | 0.38 | 0.051 | 0.327 | 0.385 | 0.444 | 0.348 | 0.157 | 0.338
Colony 2, Replicate 2 | 68 | 471 | 126 | 514 | 78 | 64 | 167 | 331 | 39 | Colony 2, Replicate 2 | 0.334 | 0.378 | 0.048 | 0.345 | 0.381 | 0.409 | 0.384 | 0.16 | 0.334
Colony 2, Replicate 3 | 55 | 472 | 122 | 494 | 80 | 72 | 208 | 333 | 54 | Colony 2, Replicate 3 | 0.356 | 0.376 | 0.051 | 0.283 | 0.391 | 0.441 | 0.398 | 0.167 | 0.356
Colony 2, Replicate 4 | 57 | 337 | 127 | 399 | 70 | 82 | 227 | 349 | 57 | Colony 2, Replicate 4 | 0.36 | 0.36 | 0.048 | 0.302 | 0.376 | 0.372 | 0.388 | 0.164 | 0.36
Plate pattern:
| A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9
| B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9
| C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9
| D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9
| E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9
| F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9
| G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9
| H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9

## Fluorescence Measurement
Unit Scaling Factors: | These are imported from the prior two sheets | [5 empty] | Enter fluorescence and Abs600 measurements into blue cells on "Raw Plate Reader Measurements"
OD600/Abs600 | 5.6667 | [5 empty] | They will be copied into the green cells on this sheet.
uM Fluorescein/a.u. | 0.00048296 | [5 empty] | Gold cells are calculated
If you have more replicates, unhide the extra columns
Experimental Values: | Raw Abs600 | [5 empty] | Raw Fluorescence
Sample set: | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6
Blank media | 0.044 | 0.042 | 0.045 | 0.043 |  |  | 62 | 73 | 54 | 69
Blank mean: | 0.0435 | [5 empty] | 64.5 | [5 empty] | OD - Background | [5 empty] | Fluorescence - Background | [5 empty] | uM Fluorescein / OD600 | [5 empty] | Summary Statistics |  |  |  | Ln uM FITC / OD600
Hour 0: | [12 empty] | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Arith. Mean | Arith. Std.Dev. | Geo. Mean | Geo. Std. Dev. | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6
Negative Control (Colony 1) | 0.045 | 0.047 | 0.047 | 0.047 |  |  | 55 | 76 | 82 | 78 |  |  | 0.0015 | 0.0035 | 0.0035 | 0.0035 | --- | --- | -9.5 | 11.5 | 17.5 | 13.5 | --- | --- | -0.53978 | 0.28004 | 0.42614 | 0.32874 | --- | --- | 0.12378 | 0.44652 | #NUM! | #NUM! | #NUM! | -1.2728 | -0.85299 | -1.1125 | --- | ---
Negative Control (Colony 2) | 0.051 | 0.046 | 0.05 | 0.048 |  |  | 68 | 82 | 72 | 75 |  |  | 0.0075 | 0.0025 | 0.0065 | 0.0045 | --- | --- | 3.5 | 17.5 | 7.5 | 10.5 | --- | --- | 0.039773 | 0.5966 | 0.09834 | 0.19887 | --- | --- | 0.23339 | 0.25089 | 0.14677 | 3.1383 | -3.2246 | -0.51651 | -2.3193 | -1.6151 | --- | ---
Positive Control (Colony 1) | 0.047 | 0.047 | 0.046 | 0.047 |  |  | 59 | 63 | 65 | 57 |  |  | 0.0035 | 0.0035 | 0.0025 | 0.0035 | --- | --- | -5.5 | -1.5 | 0.5 | -7.5 | --- | --- | -0.13393 | -0.036526 | 0.017046 | -0.18263 | --- | --- | -0.084011 | 0.09071 | #NUM! | #NUM! | #NUM! | #NUM! | -4.0719 | #NUM! | --- | ---
Positive Control (Colony 2) | 0.053 | 0.048 | 0.047 | 0.048 |  |  | 69 | 62 | 78 | 69 |  |  | 0.0095 | 0.0045 | 0.0035 | 0.0045 | --- | --- | 4.5 | -2.5 | 13.5 | 4.5 | --- | --- | 0.040371 | -0.047349 | 0.32874 | 0.085228 | --- | --- | 0.10175 | 0.16103 | #NUM! | #NUM! | -3.2096 | #NUM! | -1.1125 | -2.4624 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.045 | 0.047 | 0.047 | 0.052 |  |  | 98 | 95 | 98 | 102 |  |  | 0.0015 | 0.0035 | 0.0035 | 0.0085 | --- | --- | 33.5 | 30.5 | 33.5 | 37.5 | --- | --- | 1.9034 | 0.7427 | 0.81575 | 0.37601 | --- | --- | 0.95947 | 0.65806 | 0.81148 | 1.9444 | 0.64366 | -0.29746 | -0.20364 | -0.97815 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.048 | 0.046 | 0.048 | 0.048 |  |  | 112 | 107 | 112 | 103 |  |  | 0.0045 | 0.0025 | 0.0045 | 0.0045 | --- | --- | 47.5 | 42.5 | 47.5 | 38.5 | --- | --- | 0.89963 | 1.4489 | 0.89963 | 0.72917 | --- | --- | 0.99433 | 0.31351 | 0.96161 | 1.3373 | -0.10577 | 0.37079 | -0.10577 | -0.31584 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.045 | 0.05 | 0.046 | 0.047 |  |  | 71 | 63 | 85 | 73 |  |  | 0.0015 | 0.0065 | 0.0025 | 0.0035 | --- | --- | 6.5 | -1.5 | 20.5 | 8.5 | --- | --- | 0.36932 | -0.019668 | 0.69887 | 0.20698 | --- | --- | 0.31388 | 0.3022 | #NUM! | #NUM! | -0.99609 | #NUM! | -0.35829 | -1.5751 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.049 | 0.047 | 0.045 | 0.048 |  |  | 81 | 87 | 70 | 84 |  |  | 0.0055 | 0.0035 | 0.0015 | 0.0045 | --- | --- | 16.5 | 22.5 | 5.5 | 19.5 | --- | --- | 0.25568 | 0.54789 | 0.3125 | 0.36932 | --- | --- | 0.37135 | 0.12651 | 0.35659 | 1.3818 | -1.3638 | -0.60167 | -1.1631 | -0.99609 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.046 | 0.044 | 0.042 | 0.043 |  |  | 62 | 65 | 77 | 70 |  |  | 0.0025 | 0.0005 | -0.0015 | -0.0005 | --- | --- | -2.5 | 0.5 | 12.5 | 5.5 | --- | --- | -0.085228 | 0.085228 | -0.71023 | -0.93751 | --- | --- | -0.41194 | 0.4896 | #NUM! | #NUM! | #NUM! | -2.4624 | #NUM! | #NUM! | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.059 | 0.048 | 0.043 | 0.047 |  |  | 71 | 63 | 69 | 69 |  |  | 0.0155 | 0.0045 | -0.0005 | 0.0035 | --- | --- | 6.5 | -1.5 | 4.5 | 4.5 | --- | --- | 0.035741 | -0.028409 | -0.76705 | 0.10958 | --- | --- | -0.16254 | 0.40694 | #NUM! | #NUM! | -3.3315 | #NUM! | #NUM! | -2.2111 | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.048 | 0.049 | 0.048 | 0.046 |  |  | 68 | 72 | 72 | 81 |  |  | 0.0045 | 0.0055 | 0.0045 | 0.0025 | --- | --- | 3.5 | 7.5 | 7.5 | 16.5 | --- | --- | 0.066289 | 0.11622 | 0.14205 | 0.56251 | --- | --- | 0.22177 | 0.22933 | 0.15751 | 2.4789 | -2.7137 | -2.1523 | -1.9516 | -0.57535 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.048 | 0.048 | 0.047 | 0.048 |  |  | 69 | 58 | 69 | 71 |  |  | 0.0045 | 0.0045 | 0.0035 | 0.0045 | --- | --- | 4.5 | -6.5 | 4.5 | 6.5 | --- | --- | 0.085228 | -0.12311 | 0.10958 | 0.12311 | --- | --- | 0.048702 | 0.11561 | #NUM! | #NUM! | -2.4624 | #NUM! | -2.2111 | -2.0947 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.048 | 0.047 | 0.049 | 0.047 |  |  | 77 | 78 | 64 | 63 |  |  | 0.0045 | 0.0035 | 0.0055 | 0.0035 | --- | --- | 12.5 | 13.5 | -0.5 | -1.5 | --- | --- | 0.23674 | 0.32874 | -0.007748 | -0.036526 | --- | --- | 0.1303 | 0.18037 | #NUM! | #NUM! | -1.4408 | -1.1125 | #NUM! | #NUM! | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.049 | 0.049 | 0.046 | 0.047 |  |  | 68 | 75 | 81 | 74 |  |  | 0.0055 | 0.0055 | 0.0025 | 0.0035 | --- | --- | 3.5 | 10.5 | 16.5 | 9.5 | --- | --- | 0.054236 | 0.16271 | 0.56251 | 0.23133 | --- | --- | 0.2527 | 0.21903 | 0.18408 | 2.6315 | -2.9144 | -1.8158 | -0.57535 | -1.4639 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.048 | 0.048 | 0.048 | 0.048 |  |  | 60 | 71 | 79 | 75 |  |  | 0.0045 | 0.0045 | 0.0045 | 0.0045 | --- | --- | -4.5 | 6.5 | 14.5 | 10.5 | --- | --- | -0.085228 | 0.12311 | 0.27462 | 0.19887 | --- | --- | 0.12784 | 0.15493 | #NUM! | #NUM! | #NUM! | -2.0947 | -1.2924 | -1.6151 | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.054 | 0.048 | 0.045 | 0.048 |  |  | 64 | 60 | 52 | 74 |  |  | 0.0105 | 0.0045 | 0.0015 | 0.0045 | --- | --- | -0.5 | -4.5 | -12.5 | 9.5 | --- | --- | -0.0040585 | -0.085228 | -0.71023 | 0.17993 | --- | --- | -0.1549 | 0.38648 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | -1.7152 | --- | ---
Hour 2:
Negative Control (Colony 1) | 0.057 | 0.057 | 0.056 | 0.057 |  |  | 69 | 71 | 80 | 70 |  |  | 0.0135 | 0.0135 | 0.0125 | 0.0135 | --- | --- | 4.5 | 6.5 | 15.5 | 5.5 | --- | --- | 0.028409 | 0.041036 | 0.10568 | 0.034723 | --- | --- | 0.052463 | 0.035853 | 0.045479 | 1.7894 | -3.561 | -3.1933 | -2.2473 | -3.3604 | --- | ---
Negative Control (Colony 2) | 0.059 | 0.058 | 0.059 | 0.059 |  |  | 96 | 73 | 105 | 76 |  |  | 0.0155 | 0.0145 | 0.0155 | 0.0155 | --- | --- | 31.5 | 8.5 | 40.5 | 11.5 | --- | --- | 0.17321 | 0.049961 | 0.22269 | 0.063234 | --- | --- | 0.12727 | 0.084247 | 0.10507 | 2.0873 | -1.7533 | -2.9965 | -1.502 | -2.7609 | --- | ---
Positive Control (Colony 1) | 0.057 | 0.057 | 0.055 | 0.057 |  |  | 80 | 59 | 61 | 81 |  |  | 0.0135 | 0.0135 | 0.0115 | 0.0135 | --- | --- | 15.5 | -5.5 | -3.5 | 16.5 | --- | --- | 0.097854 | -0.034723 | -0.025939 | 0.10417 | --- | --- | 0.03534 | 0.075959 | #NUM! | #NUM! | -2.3243 | #NUM! | #NUM! | -2.2618 | --- | ---
Positive Control (Colony 2) | 0.059 | 0.055 | 0.058 | 0.063 |  |  | 79 | 68 | 63 | 82 |  |  | 0.0155 | 0.0115 | 0.0145 | 0.0195 | --- | --- | 14.5 | 3.5 | -1.5 | 17.5 | --- | --- | 0.079729 | 0.025939 | -0.0088167 | 0.076487 | --- | --- | 0.043335 | 0.042607 | #NUM! | #NUM! | -2.5291 | -3.652 | #NUM! | -2.5706 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.047 | 0.049 | 0.049 | 0.048 |  |  | 116 | 112 | 109 | 109 |  |  | 0.0035 | 0.0055 | 0.0055 | 0.0045 | --- | --- | 51.5 | 47.5 | 44.5 | 44.5 | --- | --- | 1.2541 | 0.73606 | 0.68957 | 0.84281 | --- | --- | 0.88063 | 0.25709 | 0.85583 | 1.3075 | 0.22639 | -0.30644 | -0.37168 | -0.17101 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.048 | 0.053 | 0.049 | 0.049 |  |  | 120 | 67 | 99 | 81 |  |  | 0.0045 | 0.0095 | 0.0055 | 0.0055 | --- | --- | 55.5 | 2.5 | 34.5 | 16.5 | --- | --- | 1.0511 | 0.022428 | 0.53461 | 0.25568 | --- | --- | 0.46597 | 0.44275 | 0.23826 | 5.3538 | 0.049881 | -3.7974 | -0.62621 | -1.3638 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.062 | 0.059 | 0.059 | 0.059 |  |  | 112 | 101 | 110 | 78 |  |  | 0.0185 | 0.0155 | 0.0155 | 0.0155 | --- | --- | 47.5 | 36.5 | 45.5 | 13.5 | --- | --- | 0.21883 | 0.2007 | 0.25019 | 0.074231 | --- | --- | 0.18599 | 0.077257 | 0.169 | 1.7435 | -1.5195 | -1.606 | -1.3856 | -2.6006 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.059 | 0.056 | 0.058 | 0.059 |  |  | 113 | 100 | 72 | 104 |  |  | 0.0155 | 0.0125 | 0.0145 | 0.0155 | --- | --- | 48.5 | 35.5 | 7.5 | 39.5 | --- | --- | 0.26668 | 0.24205 | 0.044083 | 0.21719 | --- | --- | 0.1925 | 0.10099 | 0.15767 | 2.3484 | -1.3217 | -1.4186 | -3.1217 | -1.527 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.061 | 0.06 | 0.059 | 0.059 |  |  | 48 | 74 | 74 | 64 |  |  | 0.0175 | 0.0165 | 0.0155 | 0.0155 | --- | --- | -16.5 | 9.5 | 9.5 | -0.5 | --- | --- | -0.080358 | 0.049071 | 0.052237 | -0.0027493 | --- | --- | 0.00455 | 0.061964 | #NUM! | #NUM! | #NUM! | -3.0145 | -2.952 | #NUM! | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.064 | 0.064 | 0.062 | 0.063 |  |  | 64 | 74 | 51 | 62 |  |  | 0.0205 | 0.0205 | 0.0185 | 0.0195 | --- | --- | -0.5 | 9.5 | -13.5 | -2.5 | --- | --- | -0.0020787 | 0.039496 | -0.062193 | -0.010927 | --- | --- | -0.0089257 | 0.041765 | #NUM! | #NUM! | #NUM! | -3.2316 | #NUM! | #NUM! | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.053 | 0.053 | 0.053 | 0.054 |  |  | 89 | 94 | 107 | 80 |  |  | 0.0095 | 0.0095 | 0.0095 | 0.0105 | --- | --- | 24.5 | 29.5 | 42.5 | 15.5 | --- | --- | 0.2198 | 0.26466 | 0.38128 | 0.12581 | --- | --- | 0.24789 | 0.10609 | 0.22984 | 1.5877 | -1.515 | -1.3293 | -0.96421 | -2.073 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.055 | 0.054 | 0.052 | 0.055 |  |  | 97 | 100 | 103 | 107 |  |  | 0.0115 | 0.0105 | 0.0085 | 0.0115 | --- | --- | 32.5 | 35.5 | 38.5 | 42.5 | --- | --- | 0.24086 | 0.28815 | 0.38603 | 0.31497 | --- | --- | 0.30751 | 0.060658 | 0.30309 | 1.2166 | -1.4235 | -1.2443 | -0.95183 | -1.1553 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.06 | 0.062 | 0.067 | 0.062 |  |  | 85 | 71 | 82 | 89 |  |  | 0.0165 | 0.0185 | 0.0235 | 0.0185 | --- | --- | 20.5 | 6.5 | 17.5 | 24.5 | --- | --- | 0.10589 | 0.029945 | 0.063468 | 0.11287 | --- | --- | 0.078043 | 0.038791 | 0.069036 | 1.847 | -2.2454 | -3.5084 | -2.7572 | -2.1815 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.066 | 0.066 | 0.066 | 0.064 |  |  | 92 | 85 | 84 | 102 |  |  | 0.0225 | 0.0225 | 0.0225 | 0.0205 | --- | --- | 27.5 | 20.5 | 19.5 | 37.5 | --- | --- | 0.10417 | 0.077652 | 0.073864 | 0.15591 | --- | --- | 0.1029 | 0.037823 | 0.098242 | 1.4095 | -2.2618 | -2.5555 | -2.6055 | -1.8585 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.076 | 0.076 | 0.076 | 0.077 |  |  | 70 | 65 | 66 | 50 |  |  | 0.0325 | 0.0325 | 0.0325 | 0.0335 | --- | --- | 5.5 | 0.5 | 1.5 | -14.5 | --- | --- | 0.014423 | 0.0013112 | 0.0039336 | -0.03689 | --- | --- | -0.0043054 | 0.022449 | #NUM! | #NUM! | -4.2389 | -6.6368 | -5.5382 | #NUM! | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.088 | 0.095 | 0.083 | 0.084 |  |  | 79 | 52 | 26 | 45 |  |  | 0.0445 | 0.0515 | 0.0395 | 0.0405 | --- | --- | 14.5 | -12.5 | -38.5 | -19.5 | --- | --- | 0.027771 | -0.020686 | -0.08307 | -0.041036 | --- | --- | -0.029255 | 0.046044 | #NUM! | #NUM! | -3.5838 | #NUM! | #NUM! | #NUM! | --- | ---
Hour 4:
Negative Control (Colony 1) | 0.168 | 0.163 | 0.164 | 0.155 |  |  | 72 | 76 | 47 | 43 |  |  | 0.1245 | 0.1195 | 0.1205 | 0.1115 | --- | --- | 7.5 | 11.5 | -17.5 | -21.5 | --- | --- | 0.0051342 | 0.0082019 | -0.012378 | -0.016434 | --- | --- | -0.0038689 | 0.012343 | #NUM! | #NUM! | -5.2718 | -4.8034 | #NUM! | #NUM! | --- | ---
Negative Control (Colony 2) | 0.174 | 0.155 | 0.169 | 0.156 |  |  | 42 | 51 | 38 | 37 |  |  | 0.1305 | 0.1115 | 0.1255 | 0.1125 | --- | --- | -22.5 | -13.5 | -26.5 | -27.5 | --- | --- | -0.014694 | -0.010319 | -0.017996 | -0.020834 | --- | --- | -0.015961 | 0.004521 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Positive Control (Colony 1) | 0.137 | 0.143 | 0.146 | 0.143 |  |  | 193 | 133 | 196 | 184 |  |  | 0.0935 | 0.0995 | 0.1025 | 0.0995 | --- | --- | 128.5 | 68.5 | 131.5 | 119.5 | --- | --- | 0.11713 | 0.058675 | 0.10934 | 0.10236 | --- | --- | 0.096877 | 0.026173 | 0.09365 | 1.3724 | -2.1445 | -2.8357 | -2.2133 | -2.2793 | --- | ---
Positive Control (Colony 2) | 0.168 | 0.171 | 0.158 | 0.148 |  |  | 249 | 226 | 188 | 202 |  |  | 0.1245 | 0.1275 | 0.1145 | 0.1045 | --- | --- | 184.5 | 161.5 | 123.5 | 137.5 | --- | --- | 0.1263 | 0.10796 | 0.091927 | 0.11214 | --- | --- | 0.10958 | 0.014147 | 0.10888 | 1.1402 | -2.0691 | -2.226 | -2.3868 | -2.188 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.05 | 0.049 | 0.05 | 0.048 |  |  | 138 | 113 | 123 | 97 |  |  | 0.0065 | 0.0055 | 0.0065 | 0.0045 | --- | --- | 73.5 | 48.5 | 58.5 | 32.5 | --- | --- | 0.96373 | 0.75156 | 0.76705 | 0.61554 | --- | --- | 0.77447 | 0.14336 | 0.76471 | 1.2013 | -0.036941 | -0.28561 | -0.2652 | -0.48526 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.049 | 0.049 | 0.048 | 0.048 |  |  | 110 | 92 | 88 | 95 |  |  | 0.0055 | 0.0055 | 0.0045 | 0.0045 | --- | --- | 45.5 | 27.5 | 23.5 | 30.5 | --- | --- | 0.70507 | 0.42614 | 0.44508 | 0.57766 | --- | --- | 0.53849 | 0.12991 | 0.5272 | 1.2659 | -0.34946 | -0.85299 | -0.8095 | -0.54878 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.18 | 0.175 | 0.168 | 0.176 |  |  | 147 | 232 | 243 | 226 |  |  | 0.1365 | 0.1315 | 0.1245 | 0.1325 | --- | --- | 82.5 | 167.5 | 178.5 | 161.5 | --- | --- | 0.051511 | 0.10856 | 0.12219 | 0.10388 | --- | --- | 0.096537 | 0.031006 | 0.091789 | 1.4787 | -2.966 | -2.2204 | -2.1021 | -2.2645 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.15 | 0.151 | 0.137 | 0.137 |  |  | 222 | 203 | 199 | 196 |  |  | 0.1065 | 0.1075 | 0.0935 | 0.0935 | --- | --- | 157.5 | 138.5 | 134.5 | 131.5 | --- | --- | 0.12604 | 0.10981 | 0.1226 | 0.11987 | --- | --- | 0.11958 | 0.0069881 | 0.11942 | 1.0614 | -2.0711 | -2.209 | -2.0988 | -2.1214 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.165 | 0.16 | 0.17 | 0.179 |  |  | 62 | 69 | 62 | 54 |  |  | 0.1215 | 0.1165 | 0.1265 | 0.1355 | --- | --- | -2.5 | 4.5 | -2.5 | -10.5 | --- | --- | -0.0017537 | 0.0032921 | -0.0016843 | -0.0066044 | --- | --- | -0.0016876 | 0.0040405 | #NUM! | #NUM! | #NUM! | -5.7162 | #NUM! | #NUM! | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.176 | 0.164 | 0.184 | 0.185 |  |  | 65 | 50 | 59 | 53 |  |  | 0.1325 | 0.1205 | 0.1405 | 0.1415 | --- | --- | 0.5 | -14.5 | -5.5 | -11.5 | --- | --- | 0.00032162 | -0.010256 | -0.0033363 | -0.0069267 | --- | --- | -0.0050493 | 0.0045611 | #NUM! | #NUM! | -8.0422 | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.087 | 0.086 | 0.087 | 0.09 |  |  | 154 | 149 | 168 | 181 |  |  | 0.0435 | 0.0425 | 0.0435 | 0.0465 | --- | --- | 89.5 | 84.5 | 103.5 | 116.5 | --- | --- | 0.17535 | 0.16945 | 0.20278 | 0.21353 | --- | --- | 0.19028 | 0.02124 | 0.18939 | 1.1181 | -1.7409 | -1.7752 | -1.5956 | -1.544 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.073 | 0.076 | 0.078 | 0.07 |  |  | 157 | 147 | 137 | 153 |  |  | 0.0295 | 0.0325 | 0.0345 | 0.0265 | --- | --- | 92.5 | 82.5 | 72.5 | 88.5 | --- | --- | 0.26724 | 0.21635 | 0.1791 | 0.28463 | --- | --- | 0.23683 | 0.048172 | 0.233 | 1.2349 | -1.3196 | -1.5309 | -1.7198 | -1.2566 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.18 | 0.179 | 0.164 | 0.162 |  |  | 107 | 100 | 115 | 118 |  |  | 0.1365 | 0.1355 | 0.1205 | 0.1185 | --- | --- | 42.5 | 35.5 | 50.5 | 53.5 | --- | --- | 0.026536 | 0.022329 | 0.035718 | 0.038478 | --- | --- | 0.030765 | 0.0075955 | 0.03004 | 1.2901 | -3.6292 | -3.8019 | -3.3321 | -3.2577 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.194 | 0.197 | 0.204 | 0.166 |  |  | 115 | 122 | 139 | 149 |  |  | 0.1505 | 0.1535 | 0.1605 | 0.1225 | --- | --- | 50.5 | 57.5 | 74.5 | 84.5 | --- | --- | 0.028598 | 0.031926 | 0.039561 | 0.05879 | --- | --- | 0.039719 | 0.013517 | 0.038173 | 1.3742 | -3.5544 | -3.4443 | -3.2299 | -2.8338 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.236 | 0.232 | 0.222 | 0.221 |  |  | 57 | 57 | 69 | 59 |  |  | 0.1925 | 0.1885 | 0.1785 | 0.1775 | --- | --- | -7.5 | -7.5 | 4.5 | -5.5 | --- | --- | -0.0033206 | -0.003391 | 0.0021486 | -0.0026409 | --- | --- | -0.001801 | 0.0026547 | #NUM! | #NUM! | #NUM! | #NUM! | -6.1429 | #NUM! | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.263 | 0.247 | 0.251 | 0.239 |  |  | 57 | 64 | 72 | 74 |  |  | 0.2195 | 0.2035 | 0.2075 | 0.1955 | --- | --- | -7.5 | -0.5 | 7.5 | 9.5 | --- | --- | -0.0029121 | -0.00020941 | 0.0030805 | 0.0041415 | --- | --- | 0.0010251 | 0.0032126 | #NUM! | #NUM! | #NUM! | #NUM! | -5.7827 | -5.4867 | --- | ---
Hour 6:
Negative Control (Colony 1) | 0.349 | 0.279 | 0.277 | 0.278 |  |  | 66 | 60 | 60 | 72 |  |  | 0.3055 | 0.2355 | 0.2335 | 0.2345 | --- | --- | 1.5 | -4.5 | -4.5 | 7.5 | --- | --- | 0.00041847 | -0.0016286 | -0.0016425 | 0.0027258 | --- | --- | -3.169e-05 | 0.0020778 | #NUM! | #NUM! | -7.7789 | #NUM! | #NUM! | -5.905 | --- | ---
Negative Control (Colony 2) | 0.338 | 0.334 | 0.356 | 0.36 |  |  | 75 | 68 | 55 | 57 |  |  | 0.2945 | 0.2905 | 0.3125 | 0.3165 | --- | --- | 10.5 | 3.5 | -9.5 | -7.5 | --- | --- | 0.0030387 | 0.0010268 | -0.0025909 | -0.0020196 | --- | --- | -0.00013625 | 0.0026461 | #NUM! | #NUM! | -5.7963 | -6.8813 | #NUM! | #NUM! | --- | ---
Positive Control (Colony 1) | 0.313 | 0.307 | 0.271 | 0.241 |  |  | 397 | 372 | 377 | 366 |  |  | 0.2695 | 0.2635 | 0.2275 | 0.1975 | --- | --- | 332.5 | 307.5 | 312.5 | 301.5 | --- | --- | 0.10515 | 0.09946 | 0.11707 | 0.13011 | --- | --- | 0.11295 | 0.013591 | 0.11235 | 1.1263 | -2.2524 | -2.308 | -2.145 | -2.0394 | --- | ---
Positive Control (Colony 2) | 0.38 | 0.378 | 0.376 | 0.36 |  |  | 480 | 471 | 472 | 337 |  |  | 0.3365 | 0.3345 | 0.3325 | 0.3165 | --- | --- | 415.5 | 406.5 | 407.5 | 272.5 | --- | --- | 0.10524 | 0.10357 | 0.10445 | 0.07338 | --- | --- | 0.096661 | 0.015536 | 0.095604 | 1.193 | -2.2515 | -2.2675 | -2.259 | -2.6121 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.049 | 0.05 | 0.05 | 0.05 |  |  | 128 | 122 | 111 | 86 |  |  | 0.0055 | 0.0065 | 0.0065 | 0.0065 | --- | --- | 63.5 | 57.5 | 46.5 | 21.5 | --- | --- | 0.984 | 0.75394 | 0.60971 | 0.28191 | --- | --- | 0.65739 | 0.29397 | 0.59757 | 1.7122 | -0.016133 | -0.28244 | -0.49477 | -1.2662 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.051 | 0.048 | 0.051 | 0.048 |  |  | 138 | 126 | 122 | 127 |  |  | 0.0075 | 0.0045 | 0.0075 | 0.0045 | --- | --- | 73.5 | 61.5 | 57.5 | 62.5 | --- | --- | 0.83524 | 1.1648 | 0.65342 | 1.1837 | --- | --- | 0.95929 | 0.2592 | 0.93137 | 1.3308 | -0.18004 | 0.15254 | -0.42554 | 0.16866 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.349 | 0.368 | 0.325 | 0.349 |  |  | 509 | 408 | 363 | 518 |  |  | 0.3055 | 0.3245 | 0.2815 | 0.3055 | --- | --- | 444.5 | 343.5 | 298.5 | 453.5 | --- | --- | 0.12401 | 0.090218 | 0.090375 | 0.12652 | --- | --- | 0.10778 | 0.020213 | 0.10635 | 1.2082 | -2.0874 | -2.4055 | -2.4038 | -2.0674 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.327 | 0.345 | 0.283 | 0.302 |  |  | 511 | 514 | 494 | 399 |  |  | 0.2835 | 0.3015 | 0.2395 | 0.2585 | --- | --- | 446.5 | 449.5 | 429.5 | 334.5 | --- | --- | 0.13423 | 0.12706 | 0.15284 | 0.11029 | --- | --- | 0.13111 | 0.017626 | 0.13021 | 1.1447 | -2.0082 | -2.0631 | -1.8784 | -2.2047 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.379 | 0.37 | 0.374 | 0.366 |  |  | 74 | 81 | 66 | 68 |  |  | 0.3355 | 0.3265 | 0.3305 | 0.3225 | --- | --- | 9.5 | 16.5 | 1.5 | 3.5 | --- | --- | 0.0024133 | 0.0043071 | 0.00038681 | 0.00092496 | --- | --- | 0.002008 | 0.0017561 | 0.0013887 | 2.893 | -6.0268 | -5.4475 | -7.8576 | -6.9858 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.385 | 0.381 | 0.391 | 0.376 |  |  | 82 | 78 | 80 | 70 |  |  | 0.3415 | 0.3375 | 0.3475 | 0.3325 | --- | --- | 17.5 | 13.5 | 15.5 | 5.5 | --- | --- | 0.0043675 | 0.0034091 | 0.0038015 | 0.0014098 | --- | --- | 0.003247 | 0.0012864 | 0.0029888 | 1.6671 | -5.4336 | -5.6813 | -5.5723 | -6.5643 | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.184 | 0.195 | 0.194 | 0.181 |  |  | 402 | 363 | 390 | 392 |  |  | 0.1405 | 0.1515 | 0.1505 | 0.1375 | --- | --- | 337.5 | 298.5 | 325.5 | 327.5 | --- | --- | 0.20473 | 0.16792 | 0.18433 | 0.203 | --- | --- | 0.19 | 0.017372 | 0.18939 | 1.0977 | -1.5861 | -1.7842 | -1.691 | -1.5946 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.444 | 0.409 | 0.441 | 0.372 |  |  | 80 | 64 | 72 | 82 |  |  | 0.4005 | 0.3655 | 0.3975 | 0.3285 | --- | --- | 15.5 | -0.5 | 7.5 | 17.5 | --- | --- | 0.0032985 | -0.00011659 | 0.0016081 | 0.0045403 | --- | --- | 0.0023326 | 0.0020273 | #NUM! | #NUM! | -5.7143 | #NUM! | -6.4327 | -5.3948 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.372 | 0.371 | 0.373 | 0.362 |  |  | 196 | 191 | 182 | 150 |  |  | 0.3285 | 0.3275 | 0.3295 | 0.3185 | --- | --- | 131.5 | 126.5 | 117.5 | 85.5 | --- | --- | 0.034117 | 0.03292 | 0.030392 | 0.022879 | --- | --- | 0.030077 | 0.0050437 | 0.029728 | 1.1986 | -3.378 | -3.4137 | -3.4936 | -3.7775 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.348 | 0.384 | 0.398 | 0.388 |  |  | 213 | 167 | 208 | 227 |  |  | 0.3045 | 0.3405 | 0.3545 | 0.3445 | --- | --- | 148.5 | 102.5 | 143.5 | 162.5 | --- | --- | 0.041564 | 0.025656 | 0.0345 | 0.040202 | --- | --- | 0.035481 | 0.0072293 | 0.034873 | 1.2462 | -3.1805 | -3.663 | -3.3668 | -3.2138 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.405 | 0.4 | 0.404 | 0.409 |  |  | 76 | 67 | 80 | 57 |  |  | 0.3615 | 0.3565 | 0.3605 | 0.3655 | --- | --- | 11.5 | 2.5 | 15.5 | -7.5 | --- | --- | 0.0027113 | 0.00059767 | 0.0036645 | -0.0017489 | --- | --- | 0.0013061 | 0.0024063 | #NUM! | #NUM! | -5.9103 | -7.4225 | -5.6091 | #NUM! | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.157 | 0.16 | 0.167 | 0.164 |  |  | 362 | 331 | 333 | 349 |  |  | 0.1135 | 0.1165 | 0.1235 | 0.1205 | --- | --- | 297.5 | 266.5 | 268.5 | 284.5 | --- | --- | 0.2234 | 0.19496 | 0.18529 | 0.20122 | --- | --- | 0.20122 | 0.016171 | 0.20074 | 1.0822 | -1.4988 | -1.6349 | -1.6858 | -1.6033 | --- | ---