## OD600 reference point
| LUDOX CL-X | H2O
Replicate 1 | 0.15955 | 0.10431 | Enter Abs600 absorbance measurements into blue cells
Replicate 2 | 0.15669 | 0.10018 | Gold cells are calculated
Replicate 3 | 0.15523 | 0.08743
Replicate 4 | 0.15117 | 0.092829
Arith. Mean | 0.15566 | 0.096187
Corrected Abs600 | 0.059475 |  | Corrected value is particle-only contribution
Reference OD600 | 0.063 |  | Reference value is for 100uL of LUDOX CL-X in a well of a standard 96-well flat-bottom black with clear bottom plate
OD600/Abs600 | 1.0593 |  | Corrected value = scaling factor * measured value

## Particle standard curve
Number of Particles | 235294117.6471 | 117647058.8235 | 58823529.4118 | 29411764.7059 | 14705882.3529 | 7352941.1765 | 3676470.5882 | 1838235.2941 | 919117.6471 | 459558.8235 | 229779.4118 | 0
Replicate 1 | 0.866 | 0.499 | 0.294 | 0.186 | 0.132 | 0.095 | 0.086 | 0.085 | 0.076 | 0.07 | 0.057 | 0.054 | Enter Abs600 measurements into blue cells
Replicate 2 | 0.833 | 0.522 | 0.308 | 0.195 | 0.139 | 0.098 | 0.09 | 0.087 | 0.077 | 0.073 | 0.061 | 0.052 | Gold cells are calculated
Replicate 3 | 0.834 | 0.492 | 0.287 | 0.2 | 0.14 | 0.103 | 0.092 | 0.086 | 0.079 | 0.074 | 0.064 | 0.053
Replicate 4 | 0.839 | 0.503 | 0.289 | 0.206 | 0.14 | 0.106 | 0.091 | 0.081 | 0.079 | 0.071 | 0.065 | 0.054
Arith. Mean | 0.843 | 0.504 | 0.2945 | 0.19675 | 0.13775 | 0.1005 | 0.08975 | 0.08475 | 0.07775 | 0.072 | 0.06175 | 0.05325
Arith. Std.Dev. | 0.015556 | 0.012832 | 0.0094692 | 0.0084607 | 0.0038622 | 0.0049329 | 0.00263 | 0.00263 | 0.0015 | 0.0018257 | 0.003594 | 0.00095743
Arith. Net Mean | 0.78975 | 0.45075 | 0.24125 | 0.1435 | 0.0845 | 0.04725 | 0.0365 | 0.0315 | 0.0245 | 0.01875 | 0.0085
Values should form a straight line on both linear and log scale
Slope should be 1:1
Common problems:
* Consistent pipetting error --> log graph is a straight line but not 1:1 slope
* Oversaturated detector --> low concentrations linear, but high concentrations saturate or fall
Cospheric Monodisperse Silica Microspheres 0.961um diameter
[15 empty] | Spheres/gram | 1200000000000
[15 empty] | grams/mL | 1.8
[15 empty] | Spheres/0.55 mL | 1.188e+12
[15 empty] | Resuspend volume mL: | 2.55
[15 empty] | Dilution X: | 100
Particles / OD | [14 empty] | Total volume mL: | 255
Number of Particles | 235294117.6471 | 117647058.8235 | 58823529.4118 | 29411764.7059 | 14705882.3529 | 7352941.1765 | 3676470.5882 | 1838235.2941 | 919117.6471 | 459558.8235 | 229779.4118 |  |  |  | Particles / mL: | 4705882352.9412
Mean particles / Abs600 | 297934938.4578 | 261002903.6573 | 243828101.1887 | 204960032.7936 | 174034110.6857 | 155617802.6766 | 100725221.5955 | 58356676.0037 | 37515006.0024 | 24509803.9216 | 27032871.9723 |  |  |  | Well volume (mL) | 0.1
Mean of med-high levels: |  | 207888590.2004 | [12 empty] | Initial particles: | 470588235.2941
Final scaling level determined from medium-high points likely to be less impacted by saturation or pipetting error
If needed, you can shift which points are used, but it is likely better to correct instrument settings and protocol.

## Fluorescein standard curve
Fluorescein uM | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125 | 0.15625 | 0.078125 | 0.039062 | 0.019531 | 0.0097656 | 0
Replicate 1 | 1417710 | 790628 | 352820 | 203440 | 107895 | 50526.6 | 27032.1 | 14561.5 | 7941.8 | 4911 | 3203.88 | 1266.08 | Enter fluorescence measurements into blue cells
Replicate 2 | 1345670 | 740778 | 469824 | 235700 | 113629 | 71279.4 | 34519.7 | 18748.8 | 10392.8 | 6170.76 | 3845.64 | 1300.47 | Gold cells are calculated
Replicate 3 | 1378430 | 795163 | 414317 | 222415 | 118005 | 61495.6 | 32124.2 | 17681.4 | 9689.06 | 5724.32 | 3585.58 | 1298.04
Replicate 4 | 1351230 | 761049 | 392859 | 219515 | 112762 | 59038.2 | 31114.9 | 17185.6 | 9355.96 | 5558.57 | 3468.84 | 1284.68 | Values measured are fluorescence from 100uL of X uM fluorescein solution
Arith. Mean | 1373260 | 771904.5 | 407455 | 220267.5 | 113072.75 | 60584.95 | 31197.725 | 17044.325 | 9344.905 | 5591.1625 | 3525.985 | 1287.3175
Arith. Std.Dev. | 32909.2712 | 25678.9678 | 48768.1783 | 13247.702 | 4144.9634 | 8539.3869 | 3122.668 | 1779.0895 | 1030.4291 | 521.9666 | 266.3006 | 15.7686
Arith. Net Mean | 1371972.6825 | 770617.1825 | 406167.6825 | 218980.1825 | 111785.4325 | 59297.6325 | 29910.4075 | 15757.0075 | 8057.5875 | 4303.845 | 2238.6675
Values should form a straight line on both linear and log scale
Slope should be 1:1
Common problems:
* Consistent pipetting error --> log graph is a straight line but not 1:1 slope
* Oversaturated detector --> low concentrations linear, but high concentrations saturate or fall
Fluorescein uM --> MEFL calculation:
[15 empty] | Initial Molarity | 1e-05
[15 empty] | Molecules / Mole | 6.0221e+23
[15 empty] | Well volume (L): | 0.0001
[15 empty] | Initial Molecules: | 602214090000000
[15 empty] | MEFL / uM | 6022140900000
Fluorescein/a.u.
Fluorescein uM | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125 | 0.15625 | 0.078125 | 0.039062 | 0.019531 | 0.0097656
uM Fluorescein/a.u. | 7.2888e-06 | 6.4883e-06 | 6.1551e-06 | 5.7083e-06 | 5.5911e-06 | 5.27e-06 | 5.2239e-06 | 4.9581e-06 | 4.8479e-06 | 4.5381e-06 | 4.3622e-06
Mean uM fluorescein / a.u.: |  | 5.8426e-06
MEFL / a.u.: |  | 35184685.3858
Final scaling level determined from medium-high points likely to be less impacted by saturation or pipetting error
If needed, you can shift which points are used, but it is likely better to correct instrument settings and protocol.

## Raw Plate Reader Measurements
Raw Plate Readings |  | If you followed the recommended plate layout:
Copy fluorescence and Abs600 measurements from your plate reader into blue cells
They will automatically propagate into the correct locations in the Fluorescence Measurement Sheet
Fluorescence Raw Readings: | [9 empty] | Abs600 Raw Readings:
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 6696.46 | 7809.61 | 16664.39 | 8874.71 | 6794.45 | 17139.4 | 12962.7 | 8260.14 | 6225.77 | Colony 1, Replicate 1 | 0.253 | 0.251 | 0.255 | 0.251 | 0.258 | 0.255 | 0.253 | 0.251 | 0.236
Colony 1, Replicate 2 | 6597.58 | 8121.86 | 16782.03 | 9195.94 | 6882.04 | 17211.2 | 13130.3 | 8508.88 | 5991.74 | Colony 1, Replicate 2 | 0.249 | 0.253 | 0.256 | 0.252 | 0.256 | 0.254 | 0.255 | 0.253 | 0.234
Colony 1, Replicate 3 | 6551.34 | 8158.06 | 17501.2 | 9127.71 | 6661.1 | 18283.1 | 12625.5 | 8614.63 | 6343.49 | Colony 1, Replicate 3 | 0.251 | 0.251 | 0.256 | 0.252 | 0.257 | 0.255 | 0.257 | 0.255 | 0.236
Colony 1, Replicate 4 | 6756.61 | 8231.99 | 17239.54 | 8462.61 | 6705.43 | 18320.9 | 13707.8 | 7763.97 | 6234.45 | Colony 1, Replicate 4 | 0.252 | 0.251 | 0.255 | 0.252 | 0.257 | 0.256 | 0.254 | 0.254 | 0.235
Colony 2, Replicate 1 | 6493.62 | 8434.98 | 16772.8 | 9787.61 | 6324.17 | 16058.3 | 9158.04 | 7653.75 | 5936.57 | Colony 2, Replicate 1 | 0.256 | 0.253 | 0.251 | 0.256 | 0.26 | 0.253 | 0.248 | 0.248 | 0.237
Colony 2, Replicate 2 | 6745.27 | 8536.38 | 17867.5 | 10166.24 | 6562.26 | 16304.5 | 9415.46 | 7824.93 | 6142.98 | Colony 2, Replicate 2 | 0.258 | 0.253 | 0.249 | 0.254 | 0.259 | 0.25 | 0.246 | 0.249 | 0.235
Colony 2, Replicate 3 | 6524.83 | 8552.69 | 18129.6 | 10128.48 | 6552.83 | 15972.7 | 9510.24 | 7848.36 | 6182.26 | Colony 2, Replicate 3 | 0.258 | 0.254 | 0.249 | 0.255 | 0.261 | 0.251 | 0.248 | 0.249 | 0.238
Colony 2, Replicate 4 | 6532.95 | 8519.13 | 17979.5 | 10209.32 | 6686.63 | 16354.2 | 9696.97 | 7915.9 | 6219.09 | Colony 2, Replicate 4 | 0.255 | 0.252 | 0.248 | 0.256 | 0.261 | 0.251 | 0.247 | 0.25 | 0.236
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 6480.69 | 23318.3 | 21764.3 | 33110.8 | 6630.02 | 43939.9 | 24199.2 | 16957.5 | 5536.22 | Colony 1, Replicate 1 | 0.472 | 0.473 | 0.248 | 0.476 | 0.457 | 0.473 | 0.274 | 0.455 | 0.232
Colony 1, Replicate 2 | 6580.1 | 25171.8 | 22430.9 | 34370.5 | 6731.23 | 45639.9 | 24654.2 | 17576.4 | 5582.98 | Colony 1, Replicate 2 | 0.485 | 0.497 | 0.258 | 0.485 | 0.466 | 0.478 | 0.272 | 0.463 | 0.235
Colony 1, Replicate 3 | 6901.7 | 25308.6 | 23694.2 | 34344.6 | 6949.25 | 45714.2 | 25293.1 | 17513.6 | 5573.07 | Colony 1, Replicate 3 | 0.502 | 0.501 | 0.245 | 0.485 | 0.47 | 0.479 | 0.278 | 0.464 | 0.23
Colony 1, Replicate 4 | 6459.72 | 25564.3 | 23417.6 | 34829.2 | 6802.65 | 45732.5 | 26027.3 | 17605.3 | 5587.22 | Colony 1, Replicate 4 | 0.484 | 0.498 | 0.25 | 0.483 | 0.469 | 0.483 | 0.274 | 0.464 | 0.231
Colony 2, Replicate 1 | 6408.92 | 28788.6 | 22559 | 40097.3 | 6768.36 | 41285.5 | 18547.4 | 21419.4 | 5682.84 | Colony 2, Replicate 1 | 0.469 | 0.468 | 0.25 | 0.44 | 0.469 | 0.435 | 0.253 | 0.448 | 0.229
Colony 2, Replicate 2 | 6462.92 | 28254.3 | 23319 | 41312.8 | 6812.06 | 41858.2 | 18542.5 | 20889.2 | 5671.03 | Colony 2, Replicate 2 | 0.484 | 0.48 | 0.25 | 0.456 | 0.466 | 0.443 | 0.254 | 0.453 | 0.229
Colony 2, Replicate 3 | 6567.96 | 29181.5 | 23629.4 | 41740 | 6846.56 | 44597.5 | 19019.8 | 20917 | 5687.9 | Colony 2, Replicate 3 | 0.488 | 0.481 | 0.251 | 0.446 | 0.472 | 0.435 | 0.256 | 0.44 | 0.232
Colony 2, Replicate 4 | 6527.82 | 29891.2 | 24013 | 43963.9 | 6961.87 | 44459.5 | 18982.8 | 21709.4 | 5721.85 | Colony 2, Replicate 4 | 0.486 | 0.481 | 0.252 | 0.454 | 0.476 | 0.438 | 0.256 | 0.445 | 0.233
Assumed plate well pattern:
| A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9
| B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9
| C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9
| D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9
| E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9
| F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9
| G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9
| H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9

## Fluorescence per OD
Unit Scaling Factors: | These are imported from the prior sheets |  |  |  | Enter fluorescence and Abs600 measurements into blue cells on "Raw Plate Reader Measurements"
OD600 / Abs600 | 1.0593 |  |  |  | Gold cells are calculated from values on other sheets
uM Fluorescein / a.u. | 5.8426e-06
Experimental Values:
uM Fluorescein / OD | [8 empty] | Net Fluorescein a.u. | [7 empty] | Net Abs 600
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6
Colony 1, Replicate 1 | 0.15272 | 0.5824 | 3.0303 | 0.97405 | 0.14258 | 3.1682 | 2.1858 | 0.74806 | 470.69 | 1583.84 | 10438.62 | 2648.94 | 568.68 | 10913.63 | 6736.93 | 2034.37 | 0.017 | 0.015 | 0.019 | 0.015 | 0.022 | 0.019 | 0.017 | 0.015
Colony 1, Replicate 2 | 0.22278 | 0.61837 | 2.7053 | 0.98185 | 0.22321 | 3.0942 | 1.875 | 0.73073 | 605.84 | 2130.12 | 10790.29 | 3204.2 | 890.3 | 11219.46 | 7138.56 | 2517.14 | 0.015 | 0.019 | 0.022 | 0.018 | 0.022 | 0.02 | 0.021 | 0.019
Colony 1, Replicate 3 | 0.076429 | 0.66724 | 3.0771 | 0.95981 | 0.083421 | 3.4661 | 1.65 | 0.65931 | 207.85 | 1814.57 | 11157.71 | 2784.22 | 317.61 | 11939.61 | 6282.01 | 2271.14 | 0.015 | 0.015 | 0.02 | 0.016 | 0.021 | 0.019 | 0.021 | 0.019
Colony 1, Replicate 4 | 0.16942 | 0.68861 | 3.035 | 0.72293 | 0.11808 | 3.1745 | 2.1695 | 0.44402 | 522.16 | 1997.54 | 11005.09 | 2228.16 | 470.98 | 12086.45 | 7473.35 | 1529.52 | 0.017 | 0.016 | 0.02 | 0.017 | 0.022 | 0.021 | 0.019 | 0.019
Colony 2, Replicate 1 | 0.16171 | 0.86128 | 4.2692 | 1.118 | 0.092951 | 3.4893 | 1.6153 | 0.86104 | 557.05 | 2498.41 | 10836.23 | 3851.04 | 387.6 | 10121.73 | 3221.47 | 1717.18 | 0.019 | 0.016 | 0.014 | 0.019 | 0.023 | 0.016 | 0.011 | 0.011
Colony 2, Replicate 2 | 0.14444 | 0.7334 | 4.6192 | 1.168 | 0.096359 | 3.7365 | 1.6409 | 0.66265 | 602.29 | 2393.4 | 11724.52 | 4023.26 | 419.28 | 10161.52 | 3272.48 | 1681.95 | 0.023 | 0.018 | 0.014 | 0.019 | 0.024 | 0.015 | 0.011 | 0.014
Colony 2, Replicate 3 | 0.094476 | 0.81716 | 5.9907 | 1.2804 | 0.088867 | 4.1539 | 1.8356 | 0.83543 | 342.57 | 2370.43 | 11947.34 | 3946.22 | 370.57 | 9790.44 | 3327.98 | 1666.1 | 0.02 | 0.016 | 0.011 | 0.017 | 0.023 | 0.013 | 0.01 | 0.011
Colony 2, Replicate 4 | 0.091113 | 0.79289 | 5.4056 | 1.1004 | 0.10315 | 3.7268 | 1.7439 | 0.66851 | 313.86 | 2300.04 | 11760.41 | 3990.23 | 467.54 | 10135.11 | 3477.88 | 1696.81 | 0.019 | 0.016 | 0.012 | 0.02 | 0.025 | 0.015 | 0.011 | 0.014
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6
Colony 1, Replicate 1 | 0.021706 | 0.40697 | 5.5943 | 0.62333 | 0.026814 | 0.87893 | 3.4174 | 0.28249 | 944.47 | 17782.08 | 16228.08 | 27574.58 | 1093.8 | 38403.68 | 13011.18 | 11421.28 | 0.24 | 0.241 | 0.016 | 0.244 | 0.225 | 0.241 | 0.021 | 0.223
Colony 1, Replicate 2 | 0.021999 | 0.41239 | 4.0403 | 0.63513 | 0.027417 | 0.90923 | 3.7621 | 0.29014 | 997.12 | 19588.82 | 16847.92 | 28787.52 | 1148.25 | 40056.92 | 12959.52 | 11993.42 | 0.25 | 0.262 | 0.023 | 0.25 | 0.231 | 0.243 | 0.019 | 0.228
Colony 1, Replicate 3 | 0.026942 | 0.40168 | 6.6634 | 0.62233 | 0.031627 | 0.88918 | 2.8526 | 0.28145 | 1328.63 | 19735.53 | 18121.13 | 28771.53 | 1376.18 | 40141.13 | 13446.73 | 11940.53 | 0.272 | 0.271 | 0.015 | 0.255 | 0.24 | 0.249 | 0.026 | 0.234
Colony 1, Replicate 4 | 0.019022 | 0.41269 | 5.1762 | 0.64004 | 0.028168 | 0.87869 | 2.9554 | 0.2845 | 872.5 | 19977.08 | 17830.38 | 29241.98 | 1215.43 | 40145.28 | 13395.58 | 12018.08 | 0.253 | 0.267 | 0.019 | 0.252 | 0.238 | 0.252 | 0.025 | 0.233
Colony 2, Replicate 1 | 0.016687 | 0.53324 | 4.4326 | 0.89962 | 0.024947 | 0.95327 | 2.2696 | 0.39634 | 726.08 | 23105.76 | 16876.16 | 34414.46 | 1085.52 | 35602.66 | 18516.36 | 15736.56 | 0.24 | 0.239 | 0.021 | 0.211 | 0.24 | 0.206 | 0.045 | 0.219
Colony 2, Replicate 2 | 0.017129 | 0.49626 | 4.6353 | 0.86603 | 0.026555 | 0.9327 | 2.435 | 0.37473 | 791.89 | 22583.27 | 17647.97 | 35641.77 | 1141.03 | 36187.17 | 18983.17 | 15218.17 | 0.255 | 0.251 | 0.021 | 0.227 | 0.237 | 0.214 | 0.043 | 0.224
Colony 2, Replicate 3 | 0.018961 | 0.52042 | 5.2084 | 0.92922 | 0.026628 | 1.0572 | 2.3508 | 0.40384 | 880.06 | 23493.6 | 17941.5 | 36052.1 | 1158.66 | 38909.6 | 19605.2 | 15229.1 | 0.256 | 0.249 | 0.019 | 0.214 | 0.24 | 0.203 | 0.046 | 0.208
Colony 2, Replicate 4 | 0.017571 | 0.53754 | 5.3099 | 0.95444 | 0.028146 | 1.0423 | 2.7317 | 0.41595 | 805.97 | 24169.35 | 18291.15 | 38242.05 | 1240.02 | 38737.65 | 20305.45 | 15987.55 | 0.253 | 0.248 | 0.019 | 0.221 | 0.243 | 0.205 | 0.041 | 0.212

## Fluorescence per Particle
Unit Scaling Factors: | These are imported from the prior sheets |  |  |  | Enter fluorescence and Abs600 measurements into blue cells on "Raw Plate Reader Measurements"
Particles / Abs600 | 207888590.2004 |  |  |  | Gold cells are calculated from values on other sheets
MEFL / a.u. | 35184685.3858
Experimental Values:
MEFL / particle | [8 empty] | Net Fluorescein a.u. | [7 empty] | Net Abs 600
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6
Colony 1, Replicate 1 | 4686.0732 | 17870.7618 | 92984.9164 | 29888.4835 | 4374.9016 | 97216.2004 | 67071.2085 | 22954.1757 | 470.69 | 1583.84 | 10438.62 | 2648.94 | 568.68 | 10913.63 | 6736.93 | 2034.37 | 0.017 | 0.015 | 0.019 | 0.015 | 0.022 | 0.019 | 0.017 | 0.015
Colony 1, Replicate 2 | 6835.8056 | 18974.6375 | 83010.5811 | 30127.9879 | 6849.1505 | 94943.443 | 57532.6446 | 22422.126 | 605.84 | 2130.12 | 10790.29 | 3204.2 | 890.3 | 11219.46 | 7138.56 | 2517.14 | 0.015 | 0.019 | 0.022 | 0.018 | 0.022 | 0.02 | 0.021 | 0.019
Colony 1, Replicate 3 | 2345.2103 | 20474.1314 | 94420.8904 | 29451.4434 | 2559.752 | 106355.4031 | 50629.3494 | 20230.8124 | 207.85 | 1814.57 | 11157.71 | 2784.22 | 317.61 | 11939.61 | 6282.01 | 2271.14 | 0.015 | 0.015 | 0.02 | 0.016 | 0.021 | 0.019 | 0.021 | 0.019
Colony 1, Replicate 4 | 5198.4958 | 21129.9525 | 93129.3605 | 22183.0097 | 3623.2876 | 97409.7622 | 66570.9476 | 13624.6256 | 522.16 | 1997.54 | 11005.09 | 2228.16 | 470.98 | 12086.45 | 7473.35 | 1529.52 | 0.017 | 0.016 | 0.02 | 0.017 | 0.022 | 0.021 | 0.019 | 0.019
Colony 2, Replicate 1 | 4962.0781 | 26428.1489 | 131000.5734 | 34304.2119 | 2852.1933 | 107067.5299 | 49566.0629 | 26420.8116 | 557.05 | 2498.41 | 10836.23 | 3851.04 | 387.6 | 10121.73 | 3221.47 | 1717.18 | 0.019 | 0.016 | 0.014 | 0.019 | 0.023 | 0.016 | 0.011 | 0.011
Colony 2, Replicate 2 | 4432.011 | 22504.3151 | 141739.2251 | 35838.3096 | 2956.759 | 114654.3232 | 50350.9111 | 20333.3091 | 602.29 | 2393.4 | 11724.52 | 4023.26 | 419.28 | 10161.52 | 3272.48 | 1681.95 | 0.023 | 0.018 | 0.014 | 0.019 | 0.024 | 0.015 | 0.011 | 0.014
Colony 2, Replicate 3 | 2898.9608 | 25074.3781 | 183823.7222 | 39287.5901 | 2726.8763 | 127462.3367 | 56325.3275 | 25634.8864 | 342.57 | 2370.43 | 11947.34 | 3946.22 | 370.57 | 9790.44 | 3327.98 | 1666.1 | 0.02 | 0.016 | 0.011 | 0.017 | 0.023 | 0.013 | 0.01 | 0.011
Colony 2, Replicate 4 | 2795.7954 | 24329.7936 | 165868.6212 | 33766.8813 | 3165.2046 | 114356.3343 | 53511.229 | 20512.9536 | 313.86 | 2300.04 | 11760.41 | 3990.23 | 467.54 | 10135.11 | 3477.88 | 1696.81 | 0.019 | 0.016 | 0.012 | 0.02 | 0.025 | 0.015 | 0.011 | 0.014
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6
Colony 1, Replicate 1 | 666.0394 | 12487.8748 | 171660.4218 | 19126.7904 | 822.7699 | 26969.8678 | 104862.5485 | 8668.28 | 944.47 | 17782.08 | 16228.08 | 27574.58 | 1093.8 | 38403.68 | 13011.18 | 11421.28 | 0.24 | 0.241 | 0.016 | 0.244 | 0.225 | 0.241 | 0.021 | 0.223
Colony 1, Replicate 2 | 675.0414 | 12654.0633 | 123977.1001 | 19488.8971 | 841.2934 | 27899.3636 | 115440.5356 | 8902.8942 | 997.12 | 19588.82 | 16847.92 | 28787.52 | 1148.25 | 40056.92 | 12959.52 | 11993.42 | 0.25 | 0.262 | 0.023 | 0.25 | 0.231 | 0.243 | 0.019 | 0.228
Colony 1, Replicate 3 | 826.7195 | 12325.4425 | 204464.0857 | 19096.149 | 970.481 | 27284.3282 | 87531.8998 | 8636.3605 | 1328.63 | 19735.53 | 18121.13 | 28771.53 | 1376.18 | 40141.13 | 13446.73 | 11940.53 | 0.272 | 0.271 | 0.015 | 0.255 | 0.24 | 0.249 | 0.026 | 0.234
Colony 1, Replicate 4 | 583.6708 | 12663.2087 | 158829.0784 | 19639.4469 | 864.3229 | 26962.302 | 90686.8948 | 8729.7577 | 872.5 | 19977.08 | 17830.38 | 29241.98 | 1215.43 | 40145.28 | 13395.58 | 12018.08 | 0.253 | 0.267 | 0.019 | 0.252 | 0.238 | 0.252 | 0.025 | 0.233
Colony 2, Replicate 1 | 512.031 | 16362.3386 | 136012.0409 | 27604.604 | 765.5078 | 29250.8334 | 69641.1798 | 12161.5437 | 726.08 | 23105.76 | 16876.16 | 34414.46 | 1085.52 | 35602.66 | 18516.36 | 15736.56 | 0.24 | 0.239 | 0.021 | 0.211 | 0.24 | 0.206 | 0.045 | 0.219
Colony 2, Replicate 2 | 525.5907 | 15227.7635 | 142232.3809 | 26573.969 | 814.8389 | 28619.6201 | 74717.6664 | 11498.4005 | 791.89 | 22583.27 | 17647.97 | 35641.77 | 1141.03 | 36187.17 | 18983.17 | 15218.17 | 0.255 | 0.251 | 0.021 | 0.227 | 0.237 | 0.214 | 0.043 | 0.224
Colony 2, Replicate 3 | 581.829 | 15968.8353 | 159818.9108 | 28512.7963 | 817.086 | 32440.2167 | 72133.41 | 12391.7865 | 880.06 | 23493.6 | 17941.5 | 36052.1 | 1158.66 | 38909.6 | 19605.2 | 15229.1 | 0.256 | 0.249 | 0.019 | 0.214 | 0.24 | 0.203 | 0.046 | 0.208
Colony 2, Replicate 4 | 539.1646 | 16494.3919 | 162933.5156 | 29286.7992 | 863.6652 | 31981.765 | 83820.7958 | 12763.4791 | 805.97 | 24169.35 | 18291.15 | 38242.05 | 1240.02 | 38737.65 | 20305.45 | 15987.55 | 0.253 | 0.248 | 0.019 | 0.221 | 0.243 | 0.205 | 0.041 | 0.212

## Our Analysis
Fluorescence per OD
t=0 | Negative Control | Positive Control | Test Device 1 | Test Device 2 | Test Device 3 | Test Device 4 | Test Device 5 | Test Device 6
Mean | 0.13913 | 0.72017 | 4.0166 | 1.0382 | 0.11858 | 3.5012 | 1.8395 | 0.70122
Standard Deviation | 0.049088 | 0.098506 | 1.2416 | 0.16841 | 0.046339 | 0.36194 | 0.2283 | 0.12933
t=6 | Negative Control | Positive Control | Test Device 1 | Test Device 2 | Test Device 3 | Test Device 4 | Test Device 5 | Test Device 6
Mean | 0.020002 | 0.46515 | 5.1325 | 0.77127 | 0.027538 | 0.94268 | 2.8468 | 0.34118
Standard Deviation | 0.003428 | 0.061931 | 0.80409 | 0.15296 | 0.0019469 | 0.0711 | 0.52608 | 0.061545
Fluorescence per particle
t=0 | Negative Control | Positive Control | Test Device 1 | Test Device 2 | Test Device 3 | Test Device 4 | Test Device 5 | Test Device 6
Mean | 4269.3038 | 22098.2648 | 123247.2363 | 31855.9897 | 3638.5156 | 107433.1666 | 56444.7101 | 21516.7126
Standard Deviation | 1506.2555 | 3022.6292 | 38099.4977 | 5167.7338 | 1421.9005 | 11105.8961 | 7005.4562 | 3968.486
t=6 | Negative Control | Positive Control | Test Device 1 | Test Device 2 | Test Device 3 | Test Device 4 | Test Device 5 | Test Device 6
Mean | 613.7608 | 14272.9898 | 157490.9418 | 23666.1815 | 844.9956 | 28926.0371 | 87354.3663 | 10469.0628
Standard Deviation | 105.1885 | 1900.3528 | 24673.3706 | 4693.5059 | 59.7412 | 2181.6912 | 16142.7268 | 1888.4961
Conversion of fluorescence per OD into fluorescence per CFU, compared with fluorescence per particle
MEFL / uM fluorescein | 6022140900000
Sample volume in well (in mL) | 0.1
t = 0
Sample | Mean uM fluorescein/OD | MEFL/OD | CFU/mL of 0.1 OD | CFU/mL of 1 OD | CFU of 1 OD in 0.1 mL | Fluorescence per CFU (MEFL/CFU) | Fluorescence per particle (MEFL/particle) | Ratio MEFL/CFU : MEFL/particle
Negative Control, Culture 1 | 0.15533 | 935445034395.1555 | 61600000 | 616000000 | 61600000 | 15185.796 | 4766.3962 | 3.186
Negative Control, Culture 2 | 0.12293 | 740327958779.0942 | 66900000 | 669000000 | 66900000 | 11066.1877 | 3772.2114 | 2.9336
Positive Control, Culture 1 | 0.63916 | 3.8491e+12 | 105000000 | 1050000000 | 105000000 | 36658.0137 | 19612.3708 | 1.8691
Positive Control, Culture 2 | 0.80118 | 4.8248e+12 | 125000000 | 1250000000 | 125000000 | 38598.7708 | 24584.1589 | 1.5701